Saliva Shipping Instructions

SPIT Lab Protocol

If shipping with FedEx, UPS, DHL, etc:               	        	If shipping with USPS:

Birdie Shirtcliff c/o SPIT Lab                                	       Birdie Shirtcliff c/o SPIT Lab

1451 Onyx Street                                        	                    	Psychology Department

Dept of Psychology                                    	        	        	1227 University of Oregon

University of Oregon                                  	        	        	Eugene OR 97403-1227

Eugene OR 97403-1227                             	        	        Email: spitlab@uoregon.edu

Email: spitlab@uoregon.edu

(1451 Onyx Street is the actual street 			(USPS packages go to the main mail

address and very important for packages to			facilities, then sorted and delivered arrive; Department and U Oregon can 			to departments within 2 days)

be combined on one line if space is limited)

For shipping, please remember the following:

- Use an insulated shipper and fill it with dry ice.

- Dry ice sublimates at a rate of 1% per hour, so we recommend not using less than 10 lbs and acquiring it right before you pack up the samples to send them off.

- Secure the freezer boxes in case of poor handling so they are unable to open and the samples don’t fall out during transit. We recommend using rubber bands in each direction but a different method of securing the boxes is fine.

- Place the freezer boxes with samples in the bottom of the insulated shipper and fill the top with dry ice. The ensures the boxes don't move around as the dry ice sublimates.

- We use large chunks of dry ice, but other groups have successfully sent us saliva using dry ice pellets.

- A physical sample manifest of the samples can be sealed in a plastic bag and put with the samples and dry ice or on top of the lid of the insulated shipper.

Once the samples are shipped, please notify us (spitlab@uoregon.edu) with a tracking number and a digital sample manifest. Then we can notify our mail office that a temperature-sensitive package is arriving.